## Slide 1: Measurements of transverse momentum dependent effects in COMPASS

## Slide 2
COmmon
Muon and
Proton
Apparatus for
Structure and
Spectroscopy
fixed target
experiment
at the CERN SPS
Collaboration ~ 250 physicists from 24 Institutions of 13 Countries
data taking: since 2002

## Slide 3: COMPASS Collaboration
Bochum, Bonn (ISKP & PI), Erlangen, Freiburg, Mainz, München TU
USA (UIUC)
Saclay
Tel Aviv
Calcutta (Matrivian)
Torino
(University,INFN),
Trieste
(University,INFN)
Warsawa (NCBJ),
Warsawa (TU)
Warsawa (U)
CERN
Yamagata
Praha (CU/CTU)
Liberec (TU)
Brno (ISI-ASCR)
Дубна (LPP and LNP), Москва (INR, LPI, State University), . Протвино
Lisboa/Aveiro
Taipei (AS)

## Slide 4: COMPASS
high energy beam
large angular acceptance
broad kinematical range
variety of tracking detectors to cope with different particle flux from θ = 0 to θ ≈ 200 mrad
MuonWall
MuonWall
E/HCAL
E/HCAL
RICH
Target
SM1
SM2
two stages spectrometer
  Large Angle Spectrometer (SM1)
  Small Angle Spectrometer (SM2)
radiator C4F10
threshold: p ~2 GeV/c
K ~ 10 GeV/c
Notes: 4

## Slide 5: Space resolution
10 µ 100µ 200µ 500µ 1 mm
Target
region
Large
Angle
Spectrometer
Small
Angle
Spectrometer
SM1
SM2
  Space resolution is function of the distance to the target

## Slide 6: The polarized target system (>2005)
3 target cells
30, 60, and 30 cm long
solenoid 2.5T
dipole magnet 0.6T
3He – 4He dilution refrigerator (T~50mK)
μ
d (6LiD) p (NH3)
polarization 50% 90%
dilution factor 40% 16%
acceptance > ± 180 mrad
opposite polarisation
no evidence for relevant
nuclear effects (160 GeV)

## Slide 7: COMPASS – some facts
Located at CERN North Area beam line
  Possible beams: µ+, µ-, p+, p-, K → Several physics programs
Experiments with muon beam
  Spin structure, Gluon polarization
  Flavor decomposition
  Transversity
  Transverse Momentum-dependent PDF
  DVCS and HEMP
  Unpolarized SIDIS and TMDs
Experiments with hadron beams
  Pion polarizability
  Diffractive and Central production
  Light meson spectroscopy
  Baryon spectroscopy
  Pion and Kaon polarizabilities
  Drell-Yan studies
COMPASS - I (2002 – 2011)
COMPASS - II (2012 – 2017)

## Slide 8: COMPASS – some facts
Located at CERN North Area beam line
  Possible beams: µ+, µ-, p+, p-, K → Several physics programs
Experiments with muon beam
  Spin structure
  p, d polarized target (L & T)
  DVCS/Unpol SIDIS
  Long LH2 target
Experiments with hadron beams
  Hadron spectroscopy
  Small LH2 or nuclear targets
  Drell-Yan studies
  Polarized target (T)
COMPASS - I (2002 – 2011)
COMPASS - II (2012 – 2017)
Reconfigurable target region - versatile experimental setup!

## Slide 9: Summary of Results on TMDs
Year |  | 
2005 |  | First 6LiD data
2006 |  | Full 6LiD statistics
2009 |  | Full 6LiD statistics
2010 |  | 2007 NH3 data
2012 |  | 
2012 |  | 
2012 | , | Exclusive
2013 |  | Unpolarized multiplicities on d
2014 | , , … | Unpol. azimuthal asymm.s Excl on , preliminary
Year |  | 
2005 |  | First 6LiD data
2006 |  | Full 6LiD statistics
2009 |  | Full 6LiD statistics
2010 |  | 2007 NH3 data
2012 |  | 
2012 |  | 
2012 |  | 
2013 |  | Unpolarized multiplicities on d
2014 |  | 

## Slide 10: TMD Distribution Functions

## Slide 11: Accessing TMD PDFs
SIDIS off polarized p, d, n targets
hard polarised pp scattering
polarised Drell-Yan
HERMES
COMPASS
JLab
future: eN colliders?
RHIC
COMPASS
RHIC
FNAL
future: FAIR, JPark, NICA

## Slide 12: Few comments:
The measurement of transversity was in the COMPASS 1996 proposal
The measurement of the Sivers PDF was added to the program soon after … the other TMD with the developments over the years
Measurements started in 2002 by HERMES (p) and COMPASS (d)
This field has grown considerably in the last years and comes one of high priority measurements for the JLab12 program

## Slide 13: Collins and Sivers asym.
Sivers
Collins
Transversity h1
Collins fragmentation function, depends on spin
Quark
fragmentation
function
at LO:
T polarized target, SIDIS:
Measure azimuthal asymmetries:
Sivers: Nucleon spin & quark transverse momentum kT
Collins: Outgoing hadron direction & quark transverse spin
m p m p h+/-
note: h1 also measured using
‘’Two hadron’’ fragmentation function
TMD

## Slide 14: Collins Asymmetry on NH3 for p e K
π+
π-
preliminary
K-
K+
compatible
with π+ / π-
preliminary
~ h+ / h-
combined 2007 – 2010 results
Agreement HERMES/COMPASS (not shown)  no Q2 dependence seen
(factor of ~3 inQ2)
Now also produced in bins of z and y
Correlation between outgoing hadron & quark transverse spin

## Slide 15: Transversity from Collins
Combined analyses of HERMES, COMPASS and BELLE fragm.fct. data
Anselmino et al. arXiv: 1303.3822

## Slide 16
[M. Radici, IWHSS2013]

## Slide 17: 2h asymmetries on p

## Slide 18: Transversity from 2h p and d results
use the same coefficients evaluated by A. Bacchetta et al. from Belle data [JHEP1303 (2013)119]

## Slide 19: Transversity extraction (2)
Bradamante, Martin, Barone
QCD Evolution, Santa Fe
For 2, directly use the Belle data following Bacchetta et al., PRL107(2011)012001
For Collins, analysing power from Belle data
A=

## Slide 20: Interplay between Collins and 2h
common hadron sample for Collins and 2h analysis
azimuthal angle of
azimuthal angle of
Hint to a at a common physical origin for the and the as suggested by different models

## Slide 21: A natural question
Is there any correlation between the azimuthal angle between the 2 hadrons and the size of the asymmetry?
We went to check
More news @ SPIN

## Slide 22: Sivers Asymmetry
at LO:
Sivers: correlates nucleon spin & quark transverse momentum kT /T-ODD
The Sivers PDF | 
1992 | Sivers proposes
1993 | J. Collins proofs for T invariance
2002 | S. Brodsky, Hwang and Schmidt demonstrate that may be due to FSI
2002 | J. Collins shows that
2004 | HERMES on p: and
2004 | COMPASS on d: and
2008 | COMPASS on p: and
The Sivers PDF | 
1992 | 
1993 | 
2002 | 
2002 | 
2004 | 
2004 | 
2008 | 

## Slide 23: Sivers asymmetry on NH3 - p, K
Correlation between nucleon spin & quark transverse momentum kT
π+
π-
preliminary
K-
K+
preliminary
larger than
for π+
combined 2007 – 2010 results
In region of overlap, agreement with HERMES, but smaller strength
Now also produced in separate bins of z and y.
~ h+ / h-

## Slide 24: Sivers asymmetry on NH3,
charged pions (and kaons), 2010 data
comparison with HERMES results
For as for h+, smaller values measured by COMPASS;
same indication for K+

## Slide 25: Test of universality
T-odd character of the Boer-Mulders and Sivers functions
Boer-Mulders
Sivers
In order not vanish by time-reversal invariance T-odd SSA require an interaction phase generated by a rescattering of the struck parton in the field of the hadron remnant
SIDIS
Time reversal
these functions are process dependent, they change sign to provide the gauge invariance

## Slide 26: vs phase space at COMPASS
The phase space of the two processes overlaps at COMPASS
 Consistent extraction of TMD DPFs in the same kinematic region

## Slide 27: Collins and Sivers for different
π-
Notes: 27

## Slide 28: Mean TMD SSA for the four

## Slide 29: Sivers asymmetry for Gluons
Correlation between azimuthal angle of the gluon and azimuthal angle of the two hadrons (assumption )

## Slide 30: Sivers asymmetry for Gluons
Based on deuteron COMPASS data, Brodsky and Gardner [Phys.Lett.B643:22-28,2006] foresaw gluon Sivers
From the analysis of PHENIX data at mid rapidity, Anselmino et al. [Phys.Rev.D74:094011,2006 ] put constrains to at small
First extraction of the Sivers function for gluons
Measured asymmetry is small in agreement with expectations

## Slide 31: Other TSAs
kT effects  modulations in SIDIS cross-section
Major progress in TMD measurement
Powerful tool to understand correlations
In agreement with HERMES prelim., and with theoretical predictions
m p m p h+/-
shown as example

## Slide 32: FUTURE

## Slide 33: Near COMPASS future is defined:
2014-2015: Transversely polarized DY to check pseudo-universality ()
2016-2017: Unpolarised DVCS/HVMP
(B slope and GPD H)
and unpolarised SIDIS on
i.e. dependent multiplicities, and Boer-Mulders TMD PDF
2018 to be discussed having in hand the performances in the previous years

## Slide 34: Polarized Drell-Yan to study TMDs
Drell –Yan π- p  +-X
Cross sections:
In SIDIS: convolution of a TMD with a fragmentation function
In DY: convolution of 2 TMDs ‘’’’
 complementary information and universality test
-
‘

## Slide 35: Pros of DY at COMPASS?
DY dominated by the annihilation of a valence anti-quark from the pion and a valence quark from the polarised proton
large acceptance of COMPASS
in the valence quark region for p and π
where SSA are expected to be larger
Othe DY experiments at
RHIC (STAR, PHENIX) collider ()
Fermilab fixed target ()
J-PARC fixed target ()
FAIR (PAX) collider ()
NICA collider ()

## Slide 36: COMPASS DY Setup

## Slide 37: Error projection
140 days Drell-Yan at COMPASS

## Slide 38: Spectrpmeter for DVCS
New equipements:
2.5m LH2 target
4m ToF Barrel CAMERA
ECAL0
ECAL0
CAMERA

## Slide 39
CAMERA recoil proton detector
surrounding the 2.5m long
LH2 target
18 -10- 2012
ECAL0
ECAL2


ECAL1

## Slide 40: Kinematic for GPDs
fixed target
collider

E=160 GeV
E=27 GeV
E=11 GeV
W > 2GeV
Explore the intermediate xBj region
Uncovered region between
ZEUS+H1 & HERMES + Jlab
before new colliders may be available
COMPASS unique for GPDs
CERN High energy muon beam
  100 - 190 GeV
  μ+ and μ- available
  80% Polarisation
  with opposite polarization
It’s time to show the impact
of COMPASS
=> goal of the 2012 DVCS pilot run
4.6 108 +
Lumi= 1032 cm-2 s-1
with 2.5m LH2 target

## Slide 41: Unpolarized SIDIS & TMD
The cross-section dependence from results from:
  intrinsic kT of the quarks
  generated in the quark fragmentation
The azimuthal modulations in the unpolarized cross-sections comes from:
  Intrinsic kT of the quarks
  The Boer-Mulders PDF
These are difficult measurements requiring to take into account apparatus acceptance
COMPASS has
  results on from 2004/6 data
  No measurements on since on nuclear effects may be important
COMPASS-II, measurements on LH2 in parallel with DVCS

## Slide 42: Boer-Mulders and Cahn effects
many data collected and still to be collected in SIDIS with GPD program

## Slide 43: More in the FUTURE:

## Slide 44
For the next 10 years
  before any collider is available,
  and complementary to Jlab 12 GeV
COMPASS@CERN can be a major player in QCD physics using its unique high energy both:
  hadron beam and
  positive and negative muon beams
Looking even further…a polarized lepton-nucleon collider well be a mandatory tool

## Slide 45: Thank You

## Slide 46: SPARES

## Slide 47: Intrinsic charm

## Slide 48: Exclusive ρ0 production on p↑

## Slide 49: Beam Sum Integrated

θ
μ’
μ
*

p
the transverse imaging
with , beams and unpolarized 2.5m long LH2 target
Using , BH subtraction and integrating over


## Slide 50: Transverse Image
2 years of data
160 GeV muon beam
2.5m LH2 target
at small xB ansatz inspired by Regge Phenomenology:
slope of Regge trajectory
with 40 weeks in 2015-16
1rst bar= stat. error; 2nd = stat + syst. errors

## Slide 51: Beam Sum and Difference
Contrains of GPD H
with , beams and unpolarized 2.5m long LH2 target
Note: dominance of H at COMPASS kinematics
Re part of the Compton Form Factors linked to the D term

## Slide 52: Summary for GPD @ COMPASS
GPDs investigated with Hard Exclusive Photon and Meson Production
COMPASS-II 2016-17: with LH2 target + RPD (phase 1) +, - 160 GeV
    the t-slope of the DVCS and HEMP cross section
       transverse distribution of partons
    the Beam Charge and Spin Sum and Difference
      Re sDVCS and Im sDVCS for the GPD H determination
    Vector Meson 0,+,, Φ
    Pseudo-saclar 0
Using the 2007-10 data: transv. polarized NH3 target without RPD
In a future addendum > 2017: transv. polarised NH3 target with RPD (phase 2)
    the Transverse Target Spin Asymm
     GPD E and chiral-odd (transverse) GPDs

## Slide 53: SIDIS x-Section

## Slide 54: LO modulations for SIDIS & DY
SIDIS
DY

## Slide 55: Key COMPASS measurements
 | Confirmation of SMC result on d (at variance with E142 claims)
 | first hint that is small, at variance with predictions
 | first measurement of transversity on deuteron
 | Only polarimeter for transversity extraction from 2h asymmetries transversity extracted directly from the data, following Pavia group
 | Evolution of Sivers
 | New state
Radiative width of and | Confirmation of VMD model, EPJ highlight
 | Confirmation of SMC result on d (at variance with E142 claims)
 | Only polarimeter for transversity extraction from 2h asymmetries transversity extracted directly from the data, following Pavia group
 | Evolution of Sivers
 | New state
 | Confirmation of VMD model, EPJ highlight