## Slide 1: week coordination report 15/06/2018
Fulvio Tessarotto
INFN Trieste

## Slide 2
no MD

## Slide 3
SPS beam intensity on T6
previous week
my week

## Slide 4
No big safety problems
No major disasters
No epic failures
Summary: reasonable week
No general power cut
No polarization loss
No flood
…
Only few major problems
Mostly normal data taking

## Slide 5
Low beam intensity and beam instability on weekend
Straw CATCH problem on Sunday
MP missing regions or reload failure
Jura Norma-bar power cut on Wednesday (Straw)
Several CAEN HV crate failures (SY527 failure on Wednesday)
MWPC PS01V1 F/E card intermittent
Pixel MM occupancy variations: inefficiency and noise
RICH WALL F/E card
Some GEM occupancy problems
Main problems:

## Slide 6
No beam until 16:30
11:30 Beam line magnets on, with new values:
B8 at 420 A (was 454 A), B9 at -291.5 A (was -250 A)
12:30 PT going to frozen spin mode (P: +78.10,-79.65)
12:50 SM1 and SM2 on; failure of QUAD27
15:50 LN2 buffer dewar in pump-room filled;
17:46 set 500 mm target, data taking started
Friday, June 8th

## Slide 7
Good starting values for the target polarization
P+ = 78.10
P- = -79.65

## Slide 8
Change of beam position as seen by SciFi01
Straw, DC cooling
DC frame T increase,
due to water cooling system problem
20:06  access for fixing it (Vincent)

## Slide 9
01:14 Straw HV trip 3Y1_DL07, related to beam spike (at end of spill)
04:30 Pixel MM: srcID LOAD –A 380 fails.
Saturday, June 9th

## Slide 10
GEM
Spill profile problem

## Slide 11
low beam intensity, smooth data taking
RICH WALL problem MP pathologies.
Sunday, June 10th

## Slide 13
Straws: CATCH problem  access and unplugging catch module
Straw trip, possibly related to beam spike (at end of spill)
HV crates turned off by themselves:
During run 283649 HV crate for H1 and RICH turned off  put back on
During run 283650 HV crate for DC01 and MM off  put back on
Bad spill shape (spikes at end of spill or at beginning of spill):
CCC called  extraction improved
DCS communication problem  crate restarted
Monday, June 11th

## Slide 17
Errors reported:
  DAQ crash (03:00 -03:30)
  PMM 382, 380
  MWPC
  DC 259
CAEN HV crate HOD_CCR1 stuck:
 put back on by Christoph in 888
Tuesday, June 12th

## Slide 18
Reasonable beam intensity yesterday, no beam from 22:00 to 22:50.
~1.5 h unstable during the night, no beam from 09:40 today!

## Slide 19
Access from ~10:00 to 11:00 for MWPC for checking the connenction on CATCH
PA03X1
PA04X1

## Slide 20
Wednesday, June 13th

## Slide 21
Straw status:

## Slide 22
Other problems:

## Slide 23
Failure of the HOD_CCR2 HV-Crate:
At ~ 17:00 DCS communication to CAEN HV-Crate CCR2 lost
Christoph + Moritz performed intervention
Burned electronic smell;
CAEN SY527 crate could not be restarted (dead);
Channels of HO03 and HO04 moved to neighboring CAEN SY1527 crate
(previously used for CAMERA)
Channels of Veto Outer 1 moved to CCR7 crate
Mapping in DCS changed and old references loaded
4 channels needed further (long) work to be restored to normal conditions
All channels fully working at ~21:00
Alignment runs taken during HV channels change

## Slide 24
Reasonable average beam intensity,
Few short interruptions,
Strange substructure
Thursday, June 14th

## Slide 25
~13 min period
Periodic structure with:
~8 min higher intensity, ~5 min lower intensity (~5% less)
 Related to LHC MD

## Slide 26
Smooth data taking
Fi03X1 inefficient?
Usual MP problem, solved by LOAD –ra 382
Friday, June 14th

## Slide 27
Almost 100 good DY runs collected during this week

## Slide 28
Good luck, Antoine!